List of Equipment Requested and Corresponding Estimated Budgetary Requirements

| Equipment | Photo | Quantity | Total Cost | Justification/Use of Equipment |
| --- | --- | --- | --- | --- |
| Analytical Balance |  | 1 unit | 150,000 | To be used in measuring minute amounts of solid reagents. |
| Eppendorf micropipette set |  | 1 set | 70,000 | To be used for reagent and media preparation, DNA extraction analysis and microbial assays. |
| Laminar Hood/ Biosafety Cabinet Level II |  | 1 unit | 300,000 | Core equipment for microbiology research to be used for aseptic isolation and culturing of microbial samples of nonpathogenic microorganisms. |
| Laminar Hood/ Biosafety Cabinet Level III |  | 1 unit | 500,000 | Core equipment for microbiology research to be used for aseptic isolation and culturing of microbial samples of pathogenic microorganisms. |
| Laboratory Grade Refrigerator |  | 2 unit | 200,000 | To be used for storage and keeping of samples. One refrigerator will be used for the storage of prepared/ unused culture media, and the other will be used for storage of cultured medias. |
| Hot plate with magnetic stirrer |  | 1 unit | 50,000 | A magnetic stirrer is a device that consists of a rotating magnet or a stationary electromagnet that creates a rotating magnetic field. This device is used to make a stir bar, immerse in a liquid, quickly spin, or stirring or mixing a solution, for example. |
| Desktop pH meter and water activity meter |  | 1 unit | 60,000 | To be used for determining pH and water activity of samples. |
| Incubator |  | 2 units | 400,000 | Essential equipment to be used for incubation of microbial samples. Two units is needed to have a separate incubator for microorganisms needing different temperatures (28° and 37°). |
| Anaerobic Jar |  | 1 unit | 70,000 | Essential equipment to be used for incubation of anaerobic samples. |
| Refrigerated Microcentrifuge |  | 1 unit | 100,000 | Essential equipment for microbiology work; to be used for analysis of samples. |
| Top loading Autoclave/ Sterilizer |  | 2 unit | 800,000 | Essential equipment in a microbiology/molecular biology laboratory for preparation of materials, media and reagents. One will be used for sterilization and the other one for decontamination. |
| Vortex mixer |  | 1 unit | 60,000 | Essential for microbiology work; to be used in processing of samples. |
| Incubator shaker |  | 1 unit | 300,000 | Essential equipment to be used for incubation of microbial samples under aerated conditions |
| UV-vis Spectrophotometer set with desktop and built-in UPS with AVR |  | 1 unit | 700,000 | Spectrophotometers measure light intensity as a function of wavelength and are commonly used to measure the concentration of a compound in an aqueous solution. Depending on the type of spectrophotometer, different wavelengths of light can be analyzed. |
| Thermal cycler and accessories |  | 1 unit | 500,000 | Essential equipment for molecular biology work with PCR amplification of DNA, important for Kurakding taxonomy. |
| Gel- documentation |  | 1 unit | 500,000 | Core equipment needed for molecular biology work and will be used in viewing gels from PCR reactions and DNA extractions of Kurakding samples. |
| Mini-gel electrophoresis system |  | 1 unit | 150,000 | Essential equipment for molecular biology work to be used for analysis of extracted DNA samples of Kurakding. |
| Total |  |  | 4,910,000.00 |  |